Town Manager’s Meeting Notes

Town Manager’s Departmental Site Review

5 Fremont Street – June 28, 2018

- Determined that property is within the Centre Business District and as currently proposed would be an as right project subject to a public hearing of the Planning Board under zoning section 17.30c and 17.50.20

  - As proposed the current project is under the height limitation allowable under the CBD zoning

  - Proposing up to 22 units, mostly one bedrooms

  - Proposing existing three office spaces to remain, with street fromtage on both Pauline and Fremont

- Building Inspector will work with proponent’s attorney to determine the number of parking spaces required under the zoning:

  - Based on .75 spaces per one bed unit and 1.25 spaces per two bed unit for residential

  - Commercial parking requirements will be determined based on the shared parking formula in the zoning

  - Current tenants are daytime uses and will be staying

- Approximately 20,000 sq. feet of residential space proposed with 3,300 sq. ft. of first floor (street level) commercial

- Proponent agrees that a new sewer lateral will be installed at his cost on Pauline St, and will coordinate with the DPW director

- Trash on the property will be screened (or within the building) details to be finalized

- Residential space will be done in mostly pre-fabrication, off-site construction, possibly in two phases

- Proponent will run a test of the existing fire suppression/sprinkler system to ensure proper capacity and pressurization, will coordinate with fire inspector

- Proponent agrees that new stormceptor catch basins will be used oin site to manage site’s storm water runoff